Where could 1150 aMW come from to replace the power generated by Lower Snake River dams?

There are many ways to provide 1150 aMW, which represents 4% of the Northwest regional demand.  One possible scenario combines wind energy (480 aMW) and by finding efficiencies in the existing Federal Power System (690aMW).

480 aMW of Wind Energy: 1463 MW x 33% average availability of wind resource.

The Pacific Northwest has the potential to generate 133,000 average megawatts of electricity from

wind power.  Montana alone could provide 15% of U.S. electricity needs.

350 MW from Blue Sky Wind near Dayton, Washington has begun connection work.

300 MW from Klondike III Wind Project by PPM Energy is near Wasco and Rufus, Oregon.

200 MW from Big Horn Wind Project Klickitat County, Washington is seeking interconnection.

200 MW from Arlington CEP Wind Project is seeking to interconnect on the McNary-Santiam line.

200 MW from Leaning Juniper Wind Project is seeking to interconnect on the McNary-Santiam line.

150 MW from Hopkins Ridge by Blue Sky Wind is seeking interconnection.

63 MW from Combine Hills Wind Project is seeking to interconnect on the Walla Walla-Pendleton line.

690 aMW Finding Efficiencies in Federal Power System: median age of generating units is 45 years.

400 aMW employing computer technology to optimize plant operations and gain generating efficiency.

A software tool called the Near Real Time Optimizer is at the heart of the effort.  $188,000 per aMW,

total investment of $75 million is expected to gain up to 400 aMW over the next decade.  Thus far,

head sensing & flow index testing has achieved 80 aMW.

99 aMW, McNary Turbine Runner Replacement, $172 million or 1.7 million per aMW.

85 aMW, Grand Coulee, 8% efficiency gain with new turbines, $130 million or 1.5 million per aMW.

50 aMW, Removable Spillway Weir will reduce spill at The Dalles.

40 aMW, Chief Joseph Turbine Runner Replacements by 2011.

15 aMW, Removable Spillway Weir will reduce spill at McNary dam.

?  aMW from increased energy efficiency at California's DC intertie substation near Los Angeles.

2,800 aMW of Conservation: 700 aMW every 5 years over 20 years.

Efficiencies are deemed achievable and cost-effective with an average cost of 2.4 cents per kWh.

700 aMW deemed achievable in 5 years, Northwest Power & Conservation Council 5th Regional Plan.

280 aMW is BPA's 40% share for 5 years invested at $70 mil/year or $1.25 million per aMW.

3000 aMW from a Substantial Reduction of Northwest Load

3000 aMW of demand has disappeared from the Northwest as aluminum smelters have closed.

Aluminum prices have not increased enough to make up for increased cost of NW electricity.

Under consideration is a proposal where aluminum companies receive $40 million per year from BPA.

3,470 aMW proposed in Natural Gas Combustion Turbine projects

1,200 MW gas-fired combined-cycle turbine project proposed from Wanapa Energy Center Generation

by Confederated Tribes of the Umatilla Indian Reservation east of Pendleton, Oregon.

1,160 MW a combined-cycle turbine is proposed by People's Energy near the California-Oregon border.

720 MW cogeneration combustion turbine is proposed next to BP refinery near Canadian border.

306 MW combustion turbine from Plymouth Energy is seeking interconnection near McNary dam.

90 MW proposed by Idaho Power near Mountain Home Air Force Base east of Boise, Idaho.

Lower Snake River dams typically provide $120 million in "preferred firm" sales to Northwest utilities.  An additional $150 million comes from "surplus sales" primarily to California.  Surplus sales improve BPA's cash reserves thereby helping to keep future contracted rates low to NW utilities.